Pre-Submission Readiness Checklist

A full-fidelity FDA regulatory assessment and the Q-Submission (Pre-Submission) that follows—hinges on receiving a precise, device specific data set from your team. The checklist that accompanies this letter identifies every critical input we need to:

- Classify the device under the correct 21 CFR regulation, product code, and class.

- Select sound predicates or justify a De Novo/PMA pathway.

- Build the test matrix (bench, biocompatibility, software, usability, and clinical).

- Document submission risks and mitigations (internally for investor benefit)

- Draft focused questions that maximise the value of the Pre-Submission meeting.

Checklist

Indications & Intended Use:

- Exactly which clinical conditions, signs, or symptoms will the device detect / diagnose / triage / monitor?

- Are outputs diagnostic, screening, risk-stratification, or billing support only?

- Single-patient use, multiple-patient use, or system infrastructure?

- Acute vs. chronic conditions; emergent vs. elective use.

- Does the device replace or augment a standard of care procedure? (If so, name it.)

Patient Population & Contraindications:

- Target age range, sex, weight/BMI limits, comorbidities.

- Special populations (pregnant, immunocompromised, pediatrics, geriatrics, non-English speakers).

- Known contraindications or exclusion criteria.

- Environment of use (hospital ED, retail clinic, rural kiosk, home).

Clinical Users & Workflow Integration:

- Primary operator (patient, nurse, MA, remote physician, billing staff).

- Required user qualifications or certifications.

- Training time and medium (onscreen tutorial, LMS, in-person).

- Where in the care pathway does the device hand off to a human?

Technology & Data Inputs:

- Sensor suite (e.g., mmWave radar HR/RR, optical SpO₂, IR temp, load-cell weight).

- Non-sensor inputs (structured questionnaires, ID scan, EHR pull).

- Third-party devices or peripherals relied upon (BP cuff make/model, cameras).

- Data sampling rate, accuracy specs, and calibration method for each sensor.

Algorithm / Software Architecture:

- Type of algorithm (rule-based, classical ML, deep learning).

- Training data sets (size, demographics, source, preprocessing).

- Update cadence and version-control approach (static, continuous learning, PCCP).

- Explainability features provided to clinicians (feature importance, saliency maps).

Outputs & Clinical Actions:

- Output format (ESI level, ICD-10 list, CPT suggestions, vitals trend graph).

- Whether any automated actions are taken (claim submission, alert routing).

- How outputs are displayed, printed, or exported (PDF, HL7, FHIR).

Hardware Characteristics:

- Dimensions/weight, mobility (casters, wall-mount).

- Power requirements, battery backup, operating temperature/humidity.

- Materials in patient-contact areas (for biocompatibility).

- Service life and end-of-life disposal plan.

Connectivity & Cybersecurity:

- Wired, Wi-Fi, cellular, or Bluetooth?

- Data-at-rest / data-in-transit encryption specs (AES-256, TLS 1.3).

- User authentication (SSO, multifactor).

- Compliance standards targeted (HIPAA, NIST 800-53, ISO 27001).

Interoperability:

- Supported standards (HL7 v2.x, FHIR R4, DICOM).

- EHR vendors validated.

- API documentation availability and version.

Performance & Validation Testing:

- Bench testing completed or planned for each sensor/algorithm.

- Human factors/usability studies (IEC 62366 scope, sample size).

- Clinical validation study design (prospective vs. retrospective, endpoints).

- Stress, drop, ingress-protection, and electrical safety testing (IEC 60601-1/-1-2).

Labeling & User Documentation:

- Draft Intended Use / Indications for Use statement.

- Quick-start guide, operator manual, and on-device prompts.

- Contraindication and warning language.

Service, Maintenance & Updates:

- Preventive maintenance schedule, calibration intervals.

- Field-upgrade process (firmware OTA, recall simulation).

- Spare parts availability and MTTR (mean time to repair).

Data Management & Retention:

- Duration of data storage per encounter.

- Patient access method for their own data.

- De-identification or anonymization workflow for secondary uses.

Figure 1. US FDA Regulatory Clearance Process